############################################################

# Master spectral reduction notes for OB Runaways project

# Adapted from /crow1/reu/2015/spectral_reductions/reductions.v6.doc

############################################################

# It might be best to start with the iraf tutorial on slit reductions before proceeding to actual datasets.

# Use scp as observer to copy over a good night of data

cd /crow1/grants/nsf10/reu/2015/spectral_reductions/

cp -r /d/hamlet2/Data.claudius/20150601/* .

# make a list of all data files in this subdirectory using IRAF FILES task

files a*.fit > rawfiles.list

ccdlist @rawfiles.list

# overscan and trim all images

# use unix shell editor sed command to replace .fit with .fits

# spit out new file containing the list of output files

!sed -e "s/.fit/_OT.fits/" rawfiles.list > trimout.list

# delete any existing images in case this step is a re-do

imdel @trimout.list ver-

# run ccdproc to do the overscan subtraction and trimming

# pay attention to make sure that the overscan region is correct for this night!

# only save 290 columns for trimsec to avoid too many CRs; we're collapsing to 1D anyway

implot a001.fit

:l 1000 1100 # (for x-axis determinations)

:c  100  200 # (for y-axis determinations)

# For 2015 vintage data (the grating was rotated by 90 degrees since 2013):

ccdproc @rawfiles.list outp=@trimout.list biassec=[305:395,*] trimsec=[5:294,*] interact- ccdtype="" fixpix- overscan+ trim+ zeroco- darkco- flatcor- illumc- fringec- readcor- scancor- order=2

ccdlist @trimout.list

# add dispaxis keyword to header of all fits files for later when we extract spectra

# For 2015 vintage data (the grating was rotated by 90 degrees since 2013):

hedit @trimout.list field=DISPAXIS value=2 add+ verif- show+ update+

# Create files containing the list of science images (OT.list; spectra and CuAr arcs) and a file with the list of flat field exposures (flats.list)

# You can do this manually with an editor or with a clever use of the unix "head" and "tail" commands.

# Make sure you edit these files to list only the actual flats and science images.

!head -n  6 trimout.list > flats.list

!tail -n 76 trimout.list > OT.list

hedit @flats.list IMAGETYPE flat add+ ver-

hedit @OT.list    IMAGETYPE object add+ ver-

ccdlist @flats.list

ccdlist @OT.list

# combine flats using IRAF IMCOMBINE

# first delete masterflat.fits if it exists in case this is a re-do

imdel masterflat.fits ver-

# For 2015 vintage data (the grating was rotated by 90 degrees since 2013):

imcomb @flats.list outp=masterflat.fits comb=average rejec=avsigclip weight=median scale=mode statsec=[100:200,150:2200]

display masterflat 1

# run the iraf task RESPONSE on masterflat; delete masterflat_response.fits if it exists in case this is a re-do

imdel masterflat_response.fits ver-

twodspec

longslit

response calib=masterflat[0] normal=masterflat[0] respons=masterflat_response.fits interac+ func=leg order=31 high=3 low=3 niter=1

display masterflat_response 1

# apply the master flat (i.e., response image)

!sed -e "s/OT/OTF/" OT.list > OTF.list

mkdir OTF

#imarith masterflat_response_original.fits * mean_value result=masterflat_response.fits

#imarith @OT.list / masterflat_response.fits @OTF.list

ccdproc @OT.list output=@OTF.list ccdtype="" fixpix- overscan- trim- zeroco- darkco- flatcor+ illumc- fringec- readcor- scancor- flat=masterflat_response.fits

ccdlist @OTF.list

# in preparation for extracting star spectra and CuAr spectra for each star-arc pair

# create a list of files containing star spectra (stars.list), a list of corresponding CuAr spectra (arcs.list)

# and a list of output fits files using the names from the log file (stars_ex.list)

# Only assign a single lamp observation (the nearest one in time) to each star observation.

cat OTF.list > stars.list

cat OTF.list > arcs.list

!nedit stars.list stars_ex.list arcs.list &

# check that there are same # of lines in each of these three files using the unix word count utility

!wc stars.list stars_ex.list arcs.list

# delete output extracted 1D spectra of arcs or stars, if they exist and this is a re-do

del @stars_ex.list verify-

del @arcs_ex.list ver-

# run APALL to extract 1D spectrum for each star from 2D spectral files

# ':up N'   to put r.h.s. of aperture N pixels from center

# ':low -M' to put l.h.s. of aperture M pixels from center

# ':cen Z' to place aperture center at pixel Z

# 'c' to re-center aperture center (do when already close to center)

# 'q' to quit

# 'd' to remove some of the bad data in the 'retrace' portion

# Typically only need to re-size when the focus is bad and the stellar profile becomes distorted.  Sometimes

# Chip manually assigns :up 4 :low -4 if the star is weak and the program can't guess a good aperture size.

twodspec

apextract

apall @stars.list outp=@stars_ex.list format=oned referen="" interac+ find+ recent+ resize+ trace+ fittr+ backgr=fit b_sampl='-35:-15,15:35' b_order=4 t_order=5

# extract arc spectra for each star using same apertures as for the stars

apall @arcs.list outp=@arcs.list format=oned referen=@stars.list interac- edit- find- recent- resize- trace- fittr+ backgr=none skybox=1

# identify CuAr lines in first arc for the night using a finder chart: /d/zem1/hak/chip/iraf/CUAR1022.pdf

# use chebychev 5th order fit; start with 2nd order fit and slowly work upward as lines are identified

# use at least 25 lines

# 'm' to initially ID 4-5 lines; 'f' to fit ('q' to return to main plot); 'w' then 'e e' box corners for x-axis increasing to the right; 'z' to zoom in on previously-idenfied line

# rms should be ~ 0.012 to 0.020

identify a008_OTF.0001.fits func=cheb o=2 coordl=linelists$cuar.dat

# now use solution from first arc to fit the wavelength solution for other arcs taken with the same setup

# the rms should be rms=0.012 to 0.020 typically...otherwise, STOP, something is wrong!!

!sed -e "s/.fits/.0001.fits/" arcs.list > arcs_ex.list

reidentify a008_OTF.0001.fits @arcs_ex.list coord=linelists$cuar.dat interac+

# assign reference spectra; edit stars_ex2.list to include ".001"

!sed -e "s/.fits/.0001.fits/" stars_ex.list > stars_ex2.list

!nedit stars_ex2.list &

# run REFSPECTRA on 1D spectra to assign a matching CuAr spectrum

# input is listing of star-1D-spectra and reference is list-of-corresponding-arcs

# Typically done in one fell swoop, if the assignments were done well.

# use unix shell editor to make a list of extracted arc images; edit arcs_ex2.list to include ".001"

refspectra @stars_ex2.list refer=@arcs_ex.list select=match verb+

# *******************************************************************************************

# Clean spectra before transforming; manually look for cosmic rays (single-pixel features) and remove strong ones.

# Na will have narrow interstellar absoprtion (near Column 600?).  If in doubt, check against neighboring spectra

# to see if the feature repeats.  Be conservative.  H-alpha is prominent absorption near column 110.

# 'j' to fudge in splot; 'w' then 'e e' to zoom in; 'r' redraw; 'c' redraw in its entirety; 'i' to save as foo.fits (then rename/overwrite foo.fits as original filename)

splot K9832227a.0001.fits # (etc. everything in @stars_ex2.list)

# apply wavelength solutions to 1D files

!sed -e "s/.0001/_w.0001/" stars_ex2.list > stars_disp.list

imdel @stars_disp.list ver-

dispcor @stars_ex2.list @stars_disp.list verbos+ linear+

# average spectra if multiple spectra were obtained for the same star

scomb HIP96514a_w.0001,HIP96514b_w.0001,HIP96514c_w.0001 HIP96514_w.fits reject=none comb=average first+ scale=median weight=median sample='5700:6500'

scomb HIP95446a_w.0001,HIP95446b_w.0001,HIP95446c_w.0001 HIP95446_w.fits reject=none comb=average first+ scale=median weight=median sample='5700:6500'

scomb G49.7115a_w.0001,G49.7115b_w.0001,G49.7115d_w.0001 G49.7115_w.fits reject=none comb=average first+ scale=median weight=median sample='5700:6500'

scomb G50.3547a_w.0001,G50.3547b_w.0001,G50.3547c_w.0001 G50.3547_w.fits reject=none comb=average first+ scale=median weight=median sample='5700:6500'

scomb G51.4152a_w.0001,G51.4152b_w.0001,G51.4152c_w.0001 G51.4152_w.fits reject=none comb=average first+ scale=median weight=median sample='5700:6500'

cp K9832227a_w.0001.fits  K9832227a_w.fits

cp K9832227b_w.0001.fits  K9832227b_w.fits

cp K9832227c_w.0001.fits  K9832227c_w.fits

cp K9832227d_w.0001.fits  K9832227d_w.fits

cp K9832227e_w.0001.fits  K9832227e_w.fits

cp K9832227f_w.0001.fits  K9832227f_w.fits

cp K9832227g_w.0001.fits  K9832227g_w.fits

cp K9832227h_w.0001.fits  K9832227h_w.fits

cp K9832227i_w.0001.fits  K9832227i_w.fits

cp K9832227j_w.0001.fits  K9832227j_w.fits

cp K9832227k_w.0001.fits  K9832227k_w.fits

cp K9832227l_w.0001.fits  K9832227l_w.fits

cp K9832227m_w.0001.fits  K9832227m_w.fits

cp K9832227n_w.0001.fits  K9832227n_w.fits

cp K9832227o_w.0001.fits  K9832227o_w.fits

# gather up _w spectra to be doppler corrected into one file; delete them first if this is a re-do

del dopcor.list ver-

files *_w.fits > dopcor.list

# put time and data and position in header with SETJD

setjd @dopcor.list observa='wiro' date=DATE-OBS time=DATE-OBS utdate+ uttime+ observat=OBSERVAT ra=TELRA dec=TELDEC epoch=EPOCH

# run RVCOR to add VEHLIO to headers

epar keywpars # (change UT to UTC, RA to TELRA, DEC to TELDEC; then 'wq' to write & quit)

rvcor images=@dopcor.list header+ input+ imupd+ observa='wiro'

# multiply vhelio by -1

hedit @dopcor.list  VHELIO '(-1*(VHELIO))' show+ update+ verify-

# run dopcor

imdel *wv.fits ver-

!sed -e "s/_w/_wv/" dopcor.list > dopcor_out.list

dopcor @dopcor.list @dopcor_out.list vhelio isvel+ add- disper+ flux-

#continuum normalize

!\rm contin_out.list

files *_wv.*fits > contin.list

!sed -e "s/_wv.fits/_wvc.fits/" contin.list > contin_out.list

del @contin_out.list ver-

continuum @contin.list @contin_out.list type=ratio replace- interac+ order=15 func=cheb high_re=2.2 low_rej=2

# put in std naming format

!\rm names_out.list namesNC_out.list

# ** CAREFUL TO CHANGE DATES BELOW TO MATCH YOUR OBSERVING DATE!!

!sed -e "s/_wvc/_WIRO_2015_06_01_vc/" contin_out.list > names_out.list

!sed -e "s/_wv/_WIRO_2015_06_01_vNC/" contin.list > namesNC_out.list

imdel @names_out.list,@namesNC_out.list ver-

imcopy @contin_out.list @names_out.list

imcopy @contin.list @namesNC_out.list

cp *2015* /d/zem1/hak/chip/research/Bowshocks/2015spec/

## Done! ###