###############################################################################

# Carry out initial data processing: overscan and bias removal; trim; flatfield

###############################################################################

#

# It's better to show Chip's style first.  Really instructive.  And then show them the below ccdproc shortcuts.

#

# 0. Preliminary Tasks

setinstrument

[ 'direct', ':wq', ':wq' ]

# Get raw data

cd /crow1/reu/2021/iraf/

mkdir 20140527

cd 20140527

mkdir raw

cd raw

cp /d/crow1/reu/2016/iraf/20140527/raw/* .

# Copy raw data to a processing directory (e.g., "proc/").

cd ../proc/

cp ../raw/* .

# Remove undesired images from the processing directory: pointing images, focus images, images with low flux counts, high seeing, etc.

# Do your processing work below in a different directory, a directory where you place a copy of the raw data (i.e., don't overwrite the raw data).

# Create ASCII files of the names of biases, flats, and science frames.

# 1. Update headers to indicate what type of image each fits file represents.

hedit @bias.list     ccdtype   bias   add+ verify-

hedit @bias.list     imagetype zero   add+ verify-

hedit @object.r.list ccdtype   object add+ verify-

hedit @object.r.list imagetype object add+ verify-

hedit @flat.list     ccdtype   flat   add+ verify-

hedit @flat.list     imagetype flat   add+ verify-

# 2. Combine bias images using zerocombine.

task prevu=/d/crow1/tools/iraf/galphot/sep00/prevu.cl

zerocombine input=@bias.list output=masterbias.fit combine=average reject=minmax ccdtype=zero process=no delete=no clobber=no

# 3. Determine the overscan and trim sections.

displ a021 1

implot a021

:l 1000 1100

:c 1000 1100

[ typing 'e' twice will define a zoomed-in box and 'r' replots; trimsec=[1:2048,1:2048] -- the entire image -- and I didn't find any apparent overscan region ]

# 4. Trim the flats and objects.

ccdproc @flat.list     ccdtype=flat   fixpix=no overscan=yes trim=yes zerocor=yes darkcor=no flatcor=no bias="[2150:2200,1:2048]" trimsec=[55:2100,1:2048] zero=masterbias interact-

ccdproc @object.r.list ccdtype=object fixpix=no overscan=yes trim=yes zerocor=yes darkcor=no flatcor=no bias="[2150:2200,1:2048]" trimsec=[55:2100,1:2048] zero=masterbias interact-

# 5. Combine flats. MAKE SURE TO COMBINE SEPARATE FILTERS SEPARATELY.

flatcombine input=@flat.list      output=master_flat.fit        combine=median reject=avsigclip ccdtype=flat subsets=yes process=no delete=no clobber=no scale=mode

# 6. Flat-field your object frames for flats

ccdproc @object.r.list ccdtype=object fixpix=no overscan=no trim=no zerocor=no darkcor=no flatcor=yes flat=master_flat interact-

ccdlist @object.r.list