## Slide 1: S17 Phys 3650
Lecture 1
Notes About Basic Measurement Devices

## Slide 2
A Familiar Example: Voltmeters
- how do they work? (i.a.)
- what could go wrong? (i.a.)
Source: Measurement, Instrumentation and Sensors Handbook

## Slide 3
DC Moving Coil Voltmeters
What could go
wrong? (i.a.)

## Slide 4
DC Galvanometer

## Slide 5
Electronic meters
- analog
- with rectifier
- digital
- with ADC
- integrating/ non-integrating
- dual slope

## Slide 6
Rectifier-based

## Slide 7
Digital Voltmeters
dual slope
What could go wrong?
(i.a.)

## Slide 8
Or … measure V with oscilloscope
- when to do that? (i.a.)
What could go wrong?
(i.a.)

## Slide 11
Filters
Four basic filter types:
Lowpass filters
Highpass filters
Bandpass filters
Bandstop filters
Bessel filters
Elliptic filters
Chebyshev filters
Butterworth filters
How do filters work? (i.a)
What could possibly go wrong? (i.a.)

## Slide 13
Examples Optical Filters
(EvaporatedCoatings.com)

## Slide 14
Signal to Noise Ratio – quantifying data vs. noise
Also known as SNR or S/N = Signal power/ noise power [dB] = (V_rms,sig)^2/(V_rms,noise)^2
Improving S/N
- use lock-in amp to confine signal in very narrow bandwidth & filter signal to the very narrow
bandwidth, eliminating most of the broadband noise
- increasing experiment runtime; what increase makes sense depends on
data statistics (Gaussian, Poisson, …)

## Slide 15
Fluctuations in devices : this is what goes wrong just
by switching the device on
Thermal fluctuations – Nyquist Noise
- Brownian Motion
- Shot Noise
Noise in Electronic Devices
(1) Electronic noise: purely statistical fluctuations inherent in device operation
- Shot noise in vacuum tubes
- Thermal or Johnson noise in conductors
(2) Modulation noise: fluctuation in quantities which control avg. characteristics of device
- Flicker noise in cathodes
- Current noise in semiconductors

## Slide 16
Example Dark Current in Photodiodes
Courtesy: van der Ziel ‘Noise in Measurements’

## Slide 17
Equivalent circuit
photodiode alone
Amplifier introduces noise (vdZiel)
Giving a noise power 3 times better than
low impedance input ~ 2.2 10^-9 [W]

## Slide 18
Example avalanche/photomultiplier
Hole-electron pairs are generated at random and independently: Shot noise
Total noise over all stages
where M = 1/(1-p) and p no. of e—h pairs
Improvement S/N 29 times